5/17/2024

Analyze IMS Standard Operating Procedures

- Installation

  - The latest version of AIMS can be found on GitHub

    - https://github.com/BioMEMS/AnalyzeIMS

  - Clone the GitHub repository using GitHub desktop (or whichever process you prefer)

  - Several packages are necessary to utilize all the functions of AIMS:

    - Computer Vision Toolbox

    - Deep Learning Toolbox

    - Curve Fitting Toolbox

    - Image Processing Toolbox

  - If any of the above packages are not installed, some functions of AIMS will not work

    - All these packages should be available with the standard MATLAB license

  - Installing MATLAB packages

    - If you are not familiar with installing packages in MATLAB, follow the steps below

    - Under the “Apps” tab, click on the “Get More Apps” button to open the add-on explorer

    - In the add-on explorer, simply open and install all necessary packages

- Loading Data

  - Run AnalyzeIMS.m in MATLAB. A figure should appear like the one below:

  - Click the “Add Files” or “Add Folder”. A pop-up window should appear:

  - Select the files or folder full of files that you would like to load in.

    - Note: files must follow the correct naming convention. They must end in _Pos.xls, _Neg.xls, or _Hdr.xls.

      - Each file must have a _Pos, _Neg, and a _Hdr file associated with it for AIMS to load it in.

        - E.g. file1_Pos.xls, file1_Neg.xls, and file1_Hdr.xls

        - The _Pos and _Neg files contain the positive and negative spectra, respectively, and the _Hdr file contains metadata.

- Analyzing Data

  - Before data can be analyzed using the tools in AIMS, they must be labelled

    - The “Add Category” button can be used to add an additional column to the table for labelling your data

  - Once a new category has been added, new classifications can be created using the dropdown arrow